# Annual Commercial Plumbing Inspection Checklist

| INSPECTION DATE: |  | TECHNICIAN: |  |
| --- | --- | --- | --- |

| ▢ | Check for signs of active leaks, including water spots, moisture or puddles, and the presence of mold or mildew. |
| --- | --- |

| ▢ | Check for signs of corrosion on all visible pipes. |
| --- | --- |

| ▢ | Ensure the water pressure is between 40-80psi. |
| --- | --- |

| ▢ | Check that the water heater is at the correct temperature and isn't leaking. |
| --- | --- |

| ▢ | Test all drains and ensure there are no clogs. |
| --- | --- |

| ▢ | Put backflow prevention devices in place and perform blackflow tests to prevent water in the system from flowing backward or being contaminated. |
| --- | --- |

| ▢ | Test that the safety and shutoff valves function properly. |
| --- | --- |

| COMMENTS: |  |  |  |
| --- | --- | --- | --- |