# Spring & Summer Commercial HVAC Maintenance Checklist

| INSPECTION DATE: |  | TECHNICIAN: |  |
| --- | --- | --- | --- |

| ▢ | Check humidity levels. |
| --- | --- |

| ▢ | Clean condenser and evaporator coils. |
| --- | --- |

| ▢ | Check for signs of gas leaks. |
| --- | --- |

| ▢ | Check drain lines for clogs. |
| --- | --- |

| ▢ | Clean any standing water out of the drain pan. |
| --- | --- |

| ▢ | Replace worn pulleys and belts. |
| --- | --- |

| ▢ | Change batteries. |
| --- | --- |

| ▢ | Clean or replace air filters. |
| --- | --- |

| ▢ | Clean or replace fan blades. |
| --- | --- |

| ▢ | Check thermostat settings and functionality. |
| --- | --- |

| ▢ | Ensure proper airflow throughout. |
| --- | --- |

| ▢ | Check refrigerant for leaks. |
| --- | --- |

| ▢ | Check electrical connections. |
| --- | --- |

| ▢ | Lubricate motor bearings and all moving parts. |
| --- | --- |

| ▢ | Clear any debris or dust on or around the unit. |
| --- | --- |

| ▢ | Check the unit cabinet for damage and ensure secure closure. |
| --- | --- |

| COMMENTS: |  |  |  |
| --- | --- | --- | --- |