## Instruction sets
INSTRUCTION SET
Name* | Description | Steps*
Annual Commercial Plumbing Inspection Checklist | An annual plumbing inspection can help you prevent building issues and water damage from occurring in the future. | Check for signs of active leaks, including water spots, moisture or puddles, and the presence of mold or mildew. Check for signs of corrosion on all visible pipes. Ensure the water pressure is between 40-80psi. Check that the water heater is at the correct temperature and isn't leaking. Test all drains and ensure there are no clogs. Put backflow prevention devices in place and perform blackflow tests to prevent water in the system from flowing backward or being contaminated. Test that the safety and shutoff valves function properly.

## Time-based tasks
| TASK | [5 empty] | DAILY | WEEKLY | [7 empty] | MONTHLY |  | YEARLY | TASK | [34 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Buildings* | Location | First due date* | Repeat* | Every X days | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Every X weeks | Mode | Every X months | Every X years | Exclude dates |  | Next due date mode | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Equipment items | Tracked meters | Assigned users | Outsourced | Ask for confirmation X day(s) before due | Send an email reminder
[19 empty] | From | Thru |  | Names | Quantities | [30 empty] | From | To | [5 empty] | X day(s) before due | & X day(s) before due | X day(s) after due

## Meter-based tasks
| TASK | [40 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Building* | Location | Equipment item* | Meter* | Next due threshold |  | Repeat every | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Assigned users | Outsourced | Send an email reminder
[8 empty] | Next due date |  | Names | Quantities | [30 empty] | From | To |  |  | X day(s) after due

## Executions
EXECUTION
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Cost | Comments | Inventory used |  | Meter readings |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field>
[6 empty] | Users | Hours |  |  | Names | Quantities | Meters | Readings

## Responses
RESPONSE
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Response* | Inventory used
[6 empty] | Users | Hours |  | Names | Quantities

## Reopenings
REOPENING
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Reason*