## Instruction sets
INSTRUCTION SET
Name* | Description | Steps*
Fall &#038; Winter Commercial HVAC Maintenance Checklist | Inspect your HVAC heating systems at the start of cold weather seasons to prevent unexpected equipment failures. | Clean or replace filters. Inspect burner assembly. Check heat exchanger and other heating elements. Check for carbon monoxide or gas leaks in heating elements. Inspect electrical connections for frays or damage. Lubricate motor bearings and all moving parts. Inspect belts for damage or fraying. Check drains for blockages. Check gas pressure. Test thermostats. Test and check heat pump. Check ductwork and vents. Clean and check flue system. Check flue system’s attachment to the furnace.

## Time-based tasks
| TASK | [5 empty] | DAILY | WEEKLY | [7 empty] | MONTHLY |  | YEARLY | TASK | [34 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Buildings* | Location | First due date* | Repeat* | Every X days | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Every X weeks | Mode | Every X months | Every X years | Exclude dates |  | Next due date mode | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Equipment items | Tracked meters | Assigned users | Outsourced | Ask for confirmation X day(s) before due | Send an email reminder
[19 empty] | From | Thru |  | Names | Quantities | [30 empty] | From | To | [5 empty] | X day(s) before due | & X day(s) before due | X day(s) after due

## Meter-based tasks
| TASK | [40 empty] | OCCURRENCES
Instruction set | Name* | Request type* | Building* | Location | Equipment item* | Meter* | Next due threshold |  | Repeat every | Inventory used |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | Time |  | Assigned users | Outsourced | Send an email reminder
[8 empty] | Next due date |  | Names | Quantities | [30 empty] | From | To |  |  | X day(s) after due

## Executions
EXECUTION
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Cost | Comments | Inventory used |  | Meter readings |  | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field> | <Custom field>
[6 empty] | Users | Hours |  |  | Names | Quantities | Meters | Readings

## Responses
RESPONSE
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Worker hours |  | Response* | Inventory used
[6 empty] | Users | Hours |  | Names | Quantities

## Reopenings
REOPENING
Task* | Occurrence date* | Occurrence threshold | Date* | Time* | User* | Reason*