## Daily
Spring/Summer Internal Property Maintenance Checklist
Test fire and carbon monoxide detectors.
Ensure window and door locks are functional and windows open/close easily.
Inspect internal HVAC unit.
Replace the air filter in HVAC unit.
Check for pests in basement/attic.
Flush hot water heater.
Check pipes for damage from cold weather.
Powered by FMX